COMMERCIAL HVAC MAINTENANCE CHECKLIST

For Perth Businesses

Use this checklist to organise routine commercial HVAC inspections and maintenance.

## Business and Site Details

| Business / Site Name |  |
| --- | --- |
| Site Address |  |
| Facility Manager / Contact |  |
| Technician / Contractor |  |
| Inspection Date |  |
| Next Scheduled Service |  |

## 1. Air Filters and Airflow

Inspection frequency should reflect the equipment, building use and operating environment.

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Inspect air filters for dirt, loading or damage |  |  |
| ☐ | Replace or clean filters as required |  |  |
| ☐ | Check supply and return airflow |  |  |
| ☐ | Inspect air grilles and diffusers |  |  |
| ☐ | Check for unusual airflow restrictions |  |  |

## 2. Coils and Heat Transfer

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Inspect evaporator / cooling coils |  |  |
| ☐ | Inspect condenser coils where applicable |  |  |
| ☐ | Clean coils when required |  |  |
| ☐ | Check for dirt, debris or corrosion |  |  |
| ☐ | Record abnormal heat transfer performance |  |  |

## 3. Fans, Motors and Drives

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Inspect fans for unusual noise or vibration |  |  |
| ☐ | Check motor operation |  |  |
| ☐ | Inspect belts, pulleys or drives where applicable |  |  |
| ☐ | Check bearings and moving components where applicable |  |  |
| ☐ | Record unusual vibration, noise or overheating |  |  |

## 4. Dampers, Ductwork and Ventilation

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Check accessible dampers for correct operation |  |  |
| ☐ | Inspect accessible ductwork for damage or deterioration |  |  |
| ☐ | Check ventilation air paths |  |  |
| ☐ | Inspect grilles and vents |  |  |
| ☐ | Record airflow or ventilation concerns |  |  |

## 5. Condensate and Drainage

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Inspect condensate trays |  |  |
| ☐ | Check condensate drains for blockage |  |  |
| ☐ | Check drain lines and connections |  |  |
| ☐ | Look for water leaks or overflow |  |  |
| ☐ | Clean drainage components where required |  |  |

## 6. Controls, Sensors and BMS

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Check thermostats and temperature sensors |  |  |
| ☐ | Check system controls |  |  |
| ☐ | Review operating schedules |  |  |
| ☐ | Check alarms and fault indications |  |  |
| ☐ | Review BMS information where applicable |  |  |

## 7. Refrigeration and Cooling Equipment

Refrigeration work should be completed by appropriately qualified personnel.

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Check system operating performance |  |  |
| ☐ | Inspect for signs of refrigerant leakage |  |  |
| ☐ | Check relevant refrigeration components |  |  |
| ☐ | Record abnormal pressures or temperatures where applicable |  |  |
| ☐ | Record faults requiring professional attention |  |  |

## 8. Electrical and Safety Checks

Electrical work and relevant inspections must be performed by appropriately licensed personnel within their authorised scope.

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Inspect relevant electrical components |  |  |
| ☐ | Check for visible damage or overheating |  |  |
| ☐ | Record electrical faults |  |  |
| ☐ | Check emergency or safety controls where applicable |  |  |
| ☐ | Escalate safety concerns immediately |  |  |

## 9. Energy and System Performance

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Review unusual increases in energy use |  |  |
| ☐ | Check equipment operating schedules |  |  |
| ☐ | Review temperature settings |  |  |
| ☐ | Identify equipment running unnecessarily |  |  |
| ☐ | Record opportunities for optimisation or upgrades |  |  |

## 10. Maintenance Records and Follow Up

| Check | Maintenance Item | Condition / Notes | Action Required |
| --- | --- | --- | --- |
| ☐ | Record completed maintenance tasks |  |  |
| ☐ | Record faults identified |  |  |
| ☐ | Record repairs completed |  |  |
| ☐ | Record parts or components requiring replacement |  |  |
| ☐ | Schedule follow-up work |  |  |
| ☐ | Confirm next maintenance date |  |  |

## Priority Actions

Record issues that require attention.

| Priority | Issue | Recommended Action | Due Date |
| --- | --- | --- | --- |

## Maintenance Summary

Overall system condition:

☐ Good    ☐ Monitor    ☐ Maintenance Required    ☐ Urgent Attention Required

Technician / Contractor Comments:

_________________________________________________________________________________________________________

_________________________________________________________________________________________________________

_________________________________________________________________________________________________________

_________________________________________________________________________________________________________

## Important Note

This checklist is a general planning and record-keeping tool. It does not replace manufacturer requirements, site procedures, applicable laws, the National Construction Code, Australian Standards, licensing requirements or professional HVAC assessment. Maintenance frequency should reflect the equipment, building use, operating environment and system criticality.

Efficient Refrigeration & HVAC | Perth & Western Australia

Commercial HVAC and Refrigeration Services